ITU30-E0151

Batch ID or Lot Number: Test: Potency

Reported: 13May2024

Official Compliance: Colorado

CERTIFICATE OF ANALYSIS

Prepared for:

The Georgia Hemp Company

2870 Peachtree Rd

Atlanta, GA USA 30305

USDA License:

N/A

Matrix: Unit

Test ID:

T000206566

Method(s):

TM14 (HPLC-DAD): Potency – Standard Cannabinoid Analysis

Started:

13May2025

Received: 10May2025

Sampler ID: N/A

Status:

Active

Cannabinoids LOD (mg) LOQ (mg) Result (mg) Result (mg/g) Notes

Cannabichromene (CBC) 4.812 16.124 ND ND

Cannabichromenic Acid (CBCA) 4.402 14.748 ND ND

Cannabidiol (CBD) 14.346 43.386 3405.192 113.51

Cannabidiolic Acid (CBDA) 14.713 44.498 ND ND

Cannabidivarin (CBDV) 3.393 10.261 <LOQ 0.25

Cannabidivarinic Acid (CBDVA) 6.138 18.562 ND ND

Cannabigerol (CBG) 2.732 9.154 ND ND

Cannabigerolic Acid (CBGA) 11.422 38.269 ND ND

Cannabinol (CBN) 3.565 11.943 ND ND

Cannabinolic Acid (CBNA) 7.793 26.110 ND ND

Delta 8-Tetrahydrocannabinol (Delta 8-THC) 13.608 45.592 ND ND

Delta 9-Tetrahydrocannabinol (Delta 9-THC) 12.359 41.406 ND ND

Delta 9-Tetrahydrocannabinolic Acid (THCA-A) 10.950 36.686 ND ND Tetrahydrocannabivarin (THCV) 2.485 8.327 ND ND Tetrahydrocannabivarinic Acid (THCVA) 9.658 32.358 ND ND Total Cannabinoids 3412.596 113.75

Total Potential THC ND ND

Total Potential CBD 3405.192 113.51

9

% = % (w/w) = Percent (weight of analyte / weight of product). ND = None Detected (defined by dynamic range of the method).

Total Potential Delta 9-THC or CBD is calculated to take into account the loss of a carboxyl group during decarboxylation step, using the following formulas: Total Potential Delta 9-THC = Delta 9-THC + (Delta 9-THCa *(0.877)) and Total CBD = CBD + (CBDa *(0.877)).

Testing results are based solely upon the sample submitted to Botanacor Laboratories, LLC, in the condition

it was received. Botanacor Laboratories, LLC warrants that all analytical work is conducted professionally in

accordance with all applicable standard laboratory practices using validated methods. Data was generated

using an unbroken chain of comparison to NIST traceable Reference Standards and Certified Reference

Materials. This report may not be reproduced, except in full, without the written approval of Botanacor Laboratories, LLC. ISO/IEC 17025:2017 Accredited by A2LA. Cert #4329.02

Certified Test Laboratory

CDPHE Certified

d9a3f40387cf483db0acfee32d309199.1